FILTAPAC ECONOFLO

RECHARGE PACK

Drain water system.  Disconnect filter at the end furthest from the blue cap and unscrew cap,
Taking care to catch any water remaining.  Throw away the carbon bag, sponge & ‘O’ ring.
Replace the white ‘cartwheel’ spacer first (or green mesh disc on filters prior to April 2004) then
stretch the filter bag to about 8” (20cm) ‘sausage’.  Hold the bag by one end and drop into the filter
body.  Insert the sponge and check that the ‘O’ ring is seated in its groove at the end of the screw
thread.  Screw the filter cap back on & re-connect the pipe.  Flush through for 30 seconds
 (bearing in mind that there will be a flush of dark water for a few seconds) & check for leaks.

NOT FOR USE WITH CRYSTAL WATER FILTERS
Filtapac, 8 Tudor Close, Stone. ST15 0JY  01785 816507  www.filtapac.co.uk
